Figure 1: schematic diagram of the BK7 glass delay block

In Figure 1, the incident angle (θ) is related to the refracted angle (γ) and refractive index of the BK7 glass (n) using Snell’s law:

sinθ=nsinγ

xa defines the length of the beam through air if there was no glass block exists and xg represents the length of the beam through glass block and can be represented by following:

xg=tcosγ=tcossin-1sinθn

xa=xgcos(θ-γ)=tcosθ-sin-1sinθncossin-1sinθn

Where t is the thickness of the BK7 glass block. Let θ0 be the incident angle where relative delay between the two pulses reaches 0 (shows maximum autocorrelation amplitude). Corresponding beam lengths through air and glass are, xa0 and xg0 respectively.

Time delay (Δt) between the maximum and any arbitrary angle is:

Δt=2cxa0-xa+nxg-xg0

Figure 2: Simulated time delay vs incident angle where maximum is considered at 50 degrees.

When the glass block is allowed to rotate at a frequency of f, the angle θ is represented by:

θ=θ0+2πft

Final conversion factor with deconvolution factor for gaussian pulses: 6.741.414=4.76 fs μs-1